## Slide 1: A 3-D SWIRL Transformer based on Swin and Inverted Residual Switch for Tumor Diagnosis in Automated Breast Ultrasound Image 基於移動窗口和反向殘差互換器之 3-D漩渦Transformer於自動乳房超音波腫瘤診斷
Advisor: Ruey-Feng Chang, Ph.D.
Student: Ya-Hui Chien

## Slide 2: Outline
Introduction
Materials
Methods
Experiments Results and Discussion
Conclusion and Future work

## Slide 3
Introduction

## Slide 4: Introduction
Breast cancer is the most common cancer and the leading cause of death compared to other cancer types for women worldwide
Early diagnosis is essential for successful recovery and substantial improvement of the survival rate
Automated breast ultrasound (ABUS)
  Reduce image acquisition time
  Less operator-dependence
  Improve reproducibility
  Large number of slices to be reviewed
  Experience-dependent for diagnosis

## Slide 5: Introduction – CADx system
Computer-aid diagnosis (CADx) system
  Assist physicians to correctly discriminate tumors as benign or malignant
  Speed up the diagnostic processes
Deep learning architectures
  Convolutional neural network (CNN) and Transformer-based model achieve outstanding performance on several computer vision tasks.
A CADx system based on deep learning methods was proposed
  Data preprocessing
  Tumor segmentation: 3-D U-Net++
  Tumor classification: 3-D SWIRL Transformer

## Slide 6
Materials

## Slide 7: Materials – 3-D ABUS dataset
Collected in Sun Yat-sen University Cancer Center
  Total number of patients: 396
  Mean age of patients: 49.2 ± 10.3 years
  Time: June 2015 to March 2018
  Imaging system: InveniaTM ABUS system from GE Healthcare
Notes: 中國廣州的中山醫院
GE乳房超音波系統

## Slide 8: Materials – 3-D ABUS dataset
Total: 444 tumors
  226 malignant and 218 benign tumors
  406 mass and 38 non-mass tumors
 | Malignant | Benign | Total
Mass | 203 | 203 | 406
Non-mass | 23 | 15 | 38
All | 226 | 218 | 444
Mass tumor
Non-mass tumor

## Slide 9
Methods
Notes: 接下來是本研究的方法介紹

## Slide 10: Methods – Flowchart
CADx system
  Data preprocessing
    VOI extraction
    Image resizing
    Histogram equalization
  Tumor segmentation
    U-Net++
  Tumor classification
    SWIRL Transformer
Concatenation
ABUS Image
Data Preprocessing
VOI Extraction
Image Resizing
Histogram Equalization
Tumor Segmentation
Input Data
Tumor Classification
(Malignant/Benign)

## Slide 11: Methods – Data Preprocessing
VOI (volume of interest) Extraction
  Crop VOI to focus on the tumor region
Image Resizing
  Resize to same size as model input
  Reduce computational burden
Histogram Equalization
  Enhance image contrast
  Provide tumor texture information
3-D ABUS Image
VOI Extraction
size: D×H×W
Image Resizing
size: 16×128×128
Histogram Equalization

## Slide 12: Methods – Tumor Segmentation
Image Segmentation Model
  Generate tumor masks
  Acquire tumor shape information
  3-D U-Net++
Post-processing
  Fill the hole
  Remove the noise
3-D U-Net++
Post-processing

## Slide 13: Methods – 3-D U-Net++
32
16
16
1
8
8
8
16
16
16
32
32
32
64
64
64
128
128
8
16
8
8
3-D convolution
down-sample
up-sample
skip connection
16
8
8
8
16
8
8
8
16
8
8
8
16
32
16
16
32
16
16
32
16
16
32
32
32
64
32
32
64
128
64
64
64

## Slide 14: Methods – Tumor Segmentation
Image Segmentation Model
  Generate tumor masks
  Acquire tumor shape information
  3-D U-Net++
Post-processing
  Fill the hole
  Remove the noise
VOIs
Segmented results
Post-processed masks
Ground truth contours

## Slide 15: Methods – Tumor Classification
3-D SWIRL Transformer (Shited Window-based self-attention and Inverted ResiduaL switch)
  3-D Patch Partition
  3-D Patch Embedding
  3-D SWIRL Transformer Block
  3-D Patch Merging
  GAP (Global Average Pooling)
  FC (Fully Connected Layer)
3-D Patch Partition
3-D Patch Embedding
3-D SWIRL Transformer Block
×2
Stage 1
3-D Patch Merging
3-D SWIRL Transformer Block
×2
Stage 2
3-D Patch Merging
3-D SWIRL Transformer Block
×2
Stage 3
3-D Patch Merging
3-D SWIRL Transformer Block
×2
Stage 4
GAP
FC
Benign/Malignant
D×H×W×C:
16×128×128×3
×××24
×××48
×××96
×××192

## Slide 16: Methods – Tumor Classification
Backbone Model – Swin Transformer
  3-D Patch Partition
  3-D Patch Merging
  Window-based Self-attention
3-D Patch Partition
Stage 1
Stage 2
Stage 3
Stage 4
3-D Patch Merging at Different Stages

## Slide 17: Methods – Tumor Classification
3-D SWIRL Transformer block
  Layer normalization (LN)
  Skip-connection
  Window-based multi-head self-attention module (W-MSA)
  Shifted window-based multi-head self-attention module (SW-MSA)
  Inverted residual switch (IR-switch)
LN
W-MSA
+
LN
IR-switch
SW-MSA
LN
LN
+
+
+
IR-switch

## Slide 18: Methods – Tumor Classification
W-MSA and SW-MSA modules
Patch Partition
A Patch
A 3-D Local Window
for Self-attention
Window Partition
& W-MSA
Shift
Window Partition
& SW-MSA
Window Masks
Reverse Shift

## Slide 19: Methods – Tumor Classification
IR-switch
  Patch to Image
    Patch sequence to 3-D image format
  3-D inverted residual block (3-D IR block)
    Bottleneck structure
    3-D convolution
    3-D depth-wise convolution
  Image to Patch
    3-D image format to patch sequence
  Skip-connection
Patch to Image
Image to Patch
Conv.
1×1×1
Depth-wise Conv.
3×3×3
Conv.
1×1×1
+
3-D IR block

## Slide 20: Methods – Data Augmentation
Prevent overfitting due to small-size dataset
Handle less inductive bias caused by self-attention module
Data augmentation techniques:
  Flipping
  Random crop
  Cutout
  Mixup
  Cutmix
Mixup
Cutmix
ABUS images
Cutout
Random crop
Flipping

## Slide 21: Methods – Model Training
Input size: 16  128  128
Batch size: 6
Epoch: 200
Optimizer: Adam
  Learning rate = 0.0001
Loss function: soft target cross entropy loss

## Slide 22
Experiment Results & Discussion
Notes: 接下來是實驗結果的呈現

## Slide 23: Experiment Results - Evaluation
5-fold cross validation
Evaluation metrics
  Accuracy
  Sensitivity
  Specificity
  Positive predictive value (PPV)
  Negative predictive value (NPV)
  Area under receiver operator characteristic curve (AUC)
Notes: Sensitivity(recall, true positive rate[fraction])= TP/(TP+FN)
Specificity(true negative rate, TNR) = TN/(FP+TN)
PPV(precision) = TP/(TP+FP)
NPV = TN/(TN+FN)
area under receiver operator characteristic curve (AUC)
x: false positive rate (False Position Fraction) FPR: FP/(FP+TN)=1-TNR
y: true positive rate (True Position Fraction) recall=sensitivity (真陽性率, TPR):TP/(TP+FN)

## Slide 24: Experiment Results – Ablation Study
Evaluate the effectiveness of
  IR-switch module
  Downscaled model structure
    reduced embedding dimension of each image patch
    decreased number of blocks
  Data augmentation techniques
 |  | Reduced Structure | Data Augmentation
Swin Transformer | 3-D Swin Transformer |  | 
 | Reduced 3-D Swin Transformer | √ | 
 | 3-D Swin Transformer with aug |  | √
 | Reduced 3-D Swin Transformer with aug | √ | √
SWIRL Transformer | 3-D SWIRL Transformer |  | 
 | Reduced 3-D SWIRL Transformer | √ | 
 | 3-D SWIRL Transformer with aug |  | √
 | Proposed 3-D SWIRL Transformer | √ | √

## Slide 25: Experiment Results – Ablation Study
 |  | Reduced Structure | Data Augmentation | Accuracy | Sensitivity | Specificity | PPV | NPV | AUC
Swin Transformer | 3-D Swin Transformer |  |  | 79.3% (352/444) | 80.5% (182/226) | 78.0% (170/218) | 79.1% (182/230) | 79.4% (170/214) | 0.8282
 | Reduced 3-D Swin Transformer | √ |  | 79.1% (351/444) | 81.4% (184/226) | 76.6% (167/218) | 78.3% (184/235) | 79.9% (167/209) | 0.7930
 | 3-D Swin Transformer with aug |  | √ | 81.1% (360/444) | 87.2% (197/226) | 74.8% (163/218) | 78.2% (197/252) | 84.9% (163/192) | 0.8668
 | Reduced 3-D Swin Transformer with aug | √ | √ | 83.3% (370/444) | 86.3% (195/226) | 80.3% (175/218) | 81.9% (195/238) | 85.0% (175/206) | 0.8862
SWIRL Transformer | 3-D SWIRL Transformer |  |  | 84.0% (373/444) | 85.8% (194/226) | 82.1% (179/218) | 83.3% (194/233) | 84.8% (179/211) | 0.8855
 | Reduced 3-D SWIRL Transformer | √ |  | 85.1% (378/444) | 88.1% (199/226) | 82.1% (179/218) | 83.6% (199/238) | 86.9% (179/206) | 0.8840
 | 3-D SWIRL Transformer with aug |  | √ | 88.7% (394/444) | 88.5% (200/226) | 89.0% (194/218) | 89.3% (200/224) | 88.2% (194/220) | 0.9263
 | Proposed 3-D SWIRL Transformer | √ | √ | 89.9% (399/444) | 89.8% (203/226) | 89.9% (196/218) | 90.2% (203/225) | 89.5% (196/219) | 0.9401
Notes: Sensitivity(recall, true positive rate[fraction])= TP/(TP+FN)
Specificity(true negative rate, TNR) = TN/(FP+TN)
PPV(precision) = TP/(TP+FP)
NPV = TN/(TN+FN)
area under receiver operator characteristic curve (AUC)
x: false positive rate (False Position Fraction) FPR: FP/(FP+TN)=1-TNR
y: true positive rate (True Position Fraction) recall=sensitivity (真陽性率, TPR):TP/(TP+FN)

## Slide 26: Experiment Results – Ablation Study
ROC curves in ablation study
Chart: False Position Fraction
Notes: Sensitivity(recall, true positive rate[fraction])= TP/(TP+FN)
Specificity(true negative rate, TNR) = TN/(FP+TN)
PPV(precision) = TP/(TP+FP)
NPV = TN/(TN+FN)
area under receiver operator characteristic curve (AUC)
x: false positive rate (False Position Fraction) FPR: FP/(FP+TN)=1-TNR
y: true positive rate (True Position Fraction) recall=sensitivity (真陽性率, TPR):TP/(TP+FN)

## Slide 27: Experiment Results – Model Comparison
Performance of different 3-D models
 | Accuracy | Sensitivity | Specificity | PPV | NPV | AUC
3-D SE-Net | 86.0% (382/444) | 85.4% (193/226) | 86.7% (189/218) | 86.9% (193/222) | 85.1% (189/222) | 0.9152
3-D Inception | 85.6% (380/444) | 82.7% (187/226) | 88.5% (193/218) | 88.2% (187/212) | 83.2% (193/232) | 0.9175
3-D ResNet | 85.6% (380/444) | 87.2% (197/226) | 83.9% (183/218) | 84.9% (197/232) | 86.3% (183/212) | 0.9117
3-D ResNeXt | 84.7% (376/444) | 86.3% (195/226) | 83.0% (181/218) | 84.1% (195/232) | 85.4% (181/212) | 0.9111
3-D ResNeSt | 87.2% (387/444) | 87.2% (197/226) | 87.2% (190/218) | 87.6% (197/225) | 86.8% (190/219) | 0.9364
3-D Res-CapsNet | 84.9% (377/444) | 87.2% (197/226) | 82.6% (180/218) | 83.8% (197/235) | 86.1% (180/209) | 0.9122
3-D Swin Transformer | 83.3% (370/444) | 86.3% (195/226) | 80.3% (175/218) | 81.9% (195/238) | 85.0% (175/206) | 0.8862
Proposed 3-D SWIRL Transformer | 89.9% (399/444) | 89.8% (203/226) | 89.9% (196/218) | 90.2% (203/225) | 89.5% (196/219) | 0.9401
Notes: Sensitivity(recall, true positive rate[fraction])= TP/(TP+FN)
Specificity(true negative rate, TNR) = TN/(FP+TN)
PPV(precision) = TP/(TP+FP)
NPV = TN/(TN+FN)
area under receiver operator characteristic curve (AUC)
x: false positive rate (False Position Fraction) FPR: FP/(FP+TN)=1-TNR
y: true positive rate (True Position Fraction) recall=sensitivity (真陽性率, TPR):TP/(TP+FN)

## Slide 28: Experiment Results – Model Comparison
Performance of different 2-D models
 | Accuracy | Sensitivity | Specificity | PPV | NPV | AUC
2-D SE-Net | 79.7% (354/444) | 81.8% (185/226) | 77.5% (169/218) | 79.1% (185/234) | 80.5% (169/210) | 0.8449
2-D Inception | 72.5% (322/444) | 72.6% (164/226) | 72.5% (158/218) | 73.2% (164/224) | 71.8% (158/220) | 0.7924
2-D ResNet | 75.0% (333/444) | 77.9% (176/226) | 72.0% (157/218) | 74.3% (176/237) | 75.9% (172/207) | 0.7959
2-D ResNeXt | 77.0% (342/444) | 74.3% (168/226) | 79.8% (174/218) | 79.3% (168/212) | 75.0% (174/232) | 0.7926
2-D ResNeSt | 78.4% (348/444) | 77.4% (175/226) | 79.4% (173/218) | 79.6% (175/220) | 77.2% (157/224) | 0.8450
2-D CapsNet | 75.9% (337/444) | 89.8% (203/226) | 61.5% (134/218) | 70.7% (203/287) | 85.4% (134/157) | 0.8000
2-D Swin Transformer | 77.9% (346/444) | 83.2% (188/226) | 72.5% (158/218) | 75.8% (188/248) | 80.6% (158/196) | 0.8101
2-D SWIRL Transformer | 80.0% (355/444) | 81.0% (183/226) | 78.9% (172/218) | 79.9% (183/229) | 80.0% (172/215) | 0.8534
Notes: Sensitivity(recall, true positive rate[fraction])= TP/(TP+FN)
Specificity(true negative rate, TNR) = TN/(FP+TN)
PPV(precision) = TP/(TP+FP)
NPV = TN/(TN+FN)
area under receiver operator characteristic curve (AUC)
x: false positive rate (False Position Fraction) FPR: FP/(FP+TN)=1-TNR
y: true positive rate (True Position Fraction) recall=sensitivity (真陽性率, TPR):TP/(TP+FN)

## Slide 29: Experiment Results – Model Comparison
Comparison between the proposed 2-D and 3-D models
 | Accuracy | Sensitivity | Specificity | PPV | NPV | AUC
3-D models |  |  |  |  |  | 
Proposed 3-D SWIRL Transformer | 89.9% (399/444) | 89.8% (203/226) | 89.9% (196/218) | 90.2% (203/225) | 89.5% (196/219) | 0.9401
3-D Swin Transformer | 83.3% (370/444) | 86.3% (195/226) | 80.3% (175/218) | 81.9% (195/238) | 85.0% (175/206) | 0.8862
3-D ResNeSt | 87.2% (387/444) | 87.2% (197/226) | 87.2% (190/218) | 87.6% (197/225) | 86.8% (190/219) | 0.9364
2-D models |  |  |  |  |  | 
2-D SWIRL Transformer | 80.0% (355/444) | 81.0% (183/226) | 78.9% (172/218) | 79.9% (183/229) | 80.0% (172/215) | 0.8534
2-D Swin Transformer | 77.9% (346/444) | 83.2% (188/226) | 72.5% (158/218) | 75.8% (188/248) | 80.6% (158/196) | 0.8101
2-D ResNeSt | 78.4% (348/444) | 77.4% (175/226) | 79.4% (173/218) | 79.6% (175/220) | 77.2% (157/224) | 0.8450
Notes: Sensitivity(recall, true positive rate[fraction])= TP/(TP+FN)
Specificity(true negative rate, TNR) = TN/(FP+TN)
PPV(precision) = TP/(TP+FP)
NPV = TN/(TN+FN)
area under receiver operator characteristic curve (AUC)
x: false positive rate (False Position Fraction) FPR: FP/(FP+TN)=1-TNR
y: true positive rate (True Position Fraction) recall=sensitivity (真陽性率, TPR):TP/(TP+FN)

## Slide 30: Experiment Results – Model Comparison
ROC curves of different 3-D models
ROC curves of different 2-D models
Chart: False Position Fraction
Chart: False Position Fraction

## Slide 31: Experiment Results – Model Comparison
The p-value of between the proposed model and other 3-D models in all tumors was calculated by McNemar′s Test and area test
 | McNemar's test | Area test
3-D SE-Net | 0.0196* | 0.0083*
3-D Inception | 0.0171* | 0.0352*
3-D ResNet | 0.0073* | 0.0025*
3-D ResNeXt | 0.0013* | 0.0026*
3-D ResNeSt | 0.0973 | 0.6897
3-D Res-CapsNet | 0.0077* | 0.0196*
3-D Swin Transformer | 0.0004* | 0.0001*
*statistically significant
different (p-vlaue < 0.05)
Notes: McNemar’s test: 計算某一個threshold下的p-value
χ2=(b−c)2/(b+c)
from mlxtend.evaluate import mcnemar
area test: AUC計算p-value

## Slide 32: Experiment Results – Model Comparison
Performance of the proposed model and three experienced radiologists
  Reader 1: 2 years experience in ABUS
  Reader 2: 3 years experience in ABUS
  Reader 3: 5 years experience in ABUS
 | Accuracy | Sensitivity | Specificity | PPV | NPV
Reader 1 | 82.2% (365/444) | 83.2% (188/226) | 81.2% (177/218) | 82.1% (188/229) | 82.3% (177/215)
Reader 2 | 88.1% (391/444) | 89.8% (203/226) | 86.2% (188/218) | 87.1% (203/233) | 89.1% (188/211)
Reader 3 | 93.7% (416/444) | 97.8% (221/226) | 89.5% (195/218) | 90.6% (221/244) | 97.5% (195/200)
Proposed 3-D SWIRL Transformer | 89.9 % (399/444) | 92.0 % (208/226) | 87.6 % (191/218) | 88.5 % (208/235) | 91.4 % (191/209)

## Slide 33: Experiment Results – Model Comparison
Performance of different 3-D models in mass tumors
 | Accuracy | Sensitivity | Specificity | PPV | NPV | AUC
3-D SE-Net | 86.9% (353/406) | 86.7% (176/203) | 87.2% (177/203) | 87.1% (176/202) | 86.8% (177/204) | 0.9191
3-D Inception | 86.2% (350/406) | 83.7% (170/203) | 88.7% (180/203) | 88.1% (170/193) | 84.5% (180/213) | 0.9294
3-D ResNet | 86.5% (351/406) | 88.7% (180/203) | 84.2% (171/203) | 84.9% (180/212) | 88.1% (171/194) | 0.9190
3-D ResNeXt | 85.2% (346/406) | 86.7% (176/203) | 83.7% (170/203) | 84.2% (176/209) | 86.3% (170/197) | 0.9151
3-D ResNeSt | 87.7% (356/406) | 87.7% (178/203) | 87.7% (178/203) | 87.7% (178/203) | 87.7% (178/203) | 0.9409
3-D Res-CapsNet | 85.2% (346/406) | 88.2% (179/203) | 82.3% (167/203) | 83.3% (179/215) | 87.3% (167/191) | 0.9147
3-D Swin Transformer | 83.7% (340/406) | 87.2% (177/203) | 80.3% (163/203) | 81.6% (177/217) | 86.2% (163/189) | 0.8920
Propsoed 3-D SWIRL Transformer | 90.6% (368/406) | 90.1% (183/203) | 91.1% (185/203) | 91.0% (183/201) | 90.2% (185/205) | 0.9457
Notes: Sensitivity(recall, true positive rate[fraction])= TP/(TP+FN)
Specificity(true negative rate, TNR) = TN/(FP+TN)
PPV(precision) = TP/(TP+FP)
NPV = TN/(TN+FN)
area under receiver operator characteristic curve (AUC)
x: false positive rate (False Position Fraction) FPR: FP/(FP+TN)=1-TNR
y: true positive rate (True Position Fraction) recall=sensitivity (真陽性率, TPR):TP/(TP+FN)

## Slide 34: Experiment Results – Model Comparison
The p-value of between the proposed model and other 3-D models in mass tumors was calculated by McNemar's Test and area test
 | McNemar's test | Area test
3-D SE-Net | 0.0449* | 0.0046*
3-D Inception | 0.0251* | 0.1262
3-D ResNet | 0.0177* | 0.0040*
3-D ResNeXt | 0.0023* | 0. 0018*
3-D ResNeSt | 0.1093 | 0.6403
3-D Res-CapsNet | 0.0070* | 0.0105*
3-D Swin Transformer | 0.0006* | 0.0001*
*statistically significant
different (p-vlaue < 0.05)

## Slide 35: Experiment Results – Model Comparison
Performance of different 3-D models in non-mass tumors
 | Accuracy | Sensitivity | Specificity | PPV | NPV | AUC
3-D SE-Net | 76.3% (29/38) | 73.9% (17/23) | 80.0% (12/15) | 85.0% (17/20) | 66.7% (12/18) | 0.8464
3-D Inception | 78.9% (30/38) | 73.9% (17/23) | 86.7% (13/15) | 89.5% (17/19) | 68.4% (13/19) | 0.8022
3D ResNet | 76.3% (29/38) | 73.9% (17/23) | 80.0% (12/15) | 85.0% (17/20) | 66.7% (12/18) | 0.8681
3-D ResNeXt | 78.9% (30/38) | 82.6% (19/23) | 73.3% (11/15) | 82.6% (19/23) | 73.3% (11/15) | 0.8484
3-D ResNeSt | 81.6% (31/38) | 82.6% (19/23) | 80.0% (12/15) | 86.4% (19/22) | 75.0% (12/16) | 0.8839
3-D Res-CapsNet | 81.6% (31/38) | 78.3% (18/23) | 86.7% (13/15) | 90.0% (18/20) | 72.2% (13/18) | 0.8654
3-D Swin Transformer | 78.9% (30/38) | 78.3% (18/23) | 80.0% (12/15) | 85.7% (18/21) | 80.0% (12/15) | 0.8098
Proposed 3-D SWIRL Transformer | 81.6% (31/38) | 87.0% (20/23) | 73.3% (11/15) | 83.3% (20/24) | 78.6% (11/14) | 0.8231
Notes: Sensitivity(recall, true positive rate[fraction])= TP/(TP+FN)
Specificity(true negative rate, TNR) = TN/(FP+TN)
PPV(precision) = TP/(TP+FP)
NPV = TN/(TN+FN)
area under receiver operator characteristic curve (AUC)
x: false positive rate (False Position Fraction) FPR: FP/(FP+TN)=1-TNR
y: true positive rate (True Position Fraction) recall=sensitivity (真陽性率, TPR):TP/(TP+FN)

## Slide 36: Experiment Results – Model Comparison
The p-value of between the proposed model and other 3-D models in non-mass tumors was calculated by McNemar's Test and area test
 | McNemar's test | Area test
3-D SE-Net | 0.3711 | 0.0083*
3-D Inception | 0.6831 | 0.0352*
3-D ResNet | 0.3711 | 0.0025*
3-D ResNeXt | 0.6171 | 0.0026*
3-D ResNeSt | 1.0000 | 0.6897
3-D Res-CapsNet | 1.0000 | 0.0196*
3-D Swin Transformer | 0.6831 | 0.0001*
*statistically significant
different (p-vlaue < 0.05)

## Slide 37: Experiment Results – Model Comparison
ROC curves of different 3-D models in mass tumors
ROC curves of different 3-D models in non-mass tumors
Chart: False Position Fraction
Chart: False Position Fraction

## Slide 38: Discussion
3-D tumor classification models better performed than 2-D model
  Depth, 3-D spatial relationship, and geometry information provided by 3-D data
The performance of the proposed model was greater than 2 and 3-year experienced physicians, but worse than 5-year readers
The proposed model reached the highest performance in mass tumors, however, not the best in non-mass tumors
  Number of non-mass tumors was too small to extract sufficient detailed features
malignant mass tumor
benign non-mass tumor

## Slide 39: Discussion
The proposed 3-D SWIRL Transformer preformed the best in all tumors
  W-MSA and SW-MSA
    Efficiently perform self-attention and increase information exchange between different windows
  Patch merging
    Gradually enlarge receptive field of neurons to obtain multi-scale features
  IR-switch
    Expand feature dimension for non-linear transformation
    Create more inductive bias in the local receptive field
Limitations of the proposed model
  Less robustness to diagnose the non-mass tumors
  Lack of channel attention mechanism
  Lost of tumor information due to VOI resizing, such as size

## Slide 40
Conclusion & Future work

## Slide 41: Conclusion
The CADx system with a 3-D U-Net++ tumor segmentation model and a 3-D SWIRL Transformer tumor classification model was proposed for breast tumor diagnosis
The proposed model attained the highest performance among all the other models, with 89.9% accuracy, 89.8% sensitivity, 89.9% specificity, 90.2% PPV, 89.5% NPV, and 0.9401 AUC

## Slide 42: Future Work
Collect more ABUS data, especially the non-mass tumors, or adopt a more proper loss function to handle data imbalance.
Integrate the channel attention methods into the proposed model to get more diverse features
Combine more tumor information into model by simple but effective methods, such as gradient boosting machine, for better diagnostic results

## Slide 43: Thank you.